RHODE ISLAND CONSTRUCTION TRAINING ACAEDEMY

249 Roosevelt Avenue, Pawtucket, RI 02860

APPRENTICESHIP COURSE

HEATING VENTILATION AND AIR CONDITIONING

HVAC LEVEL ONE:						total hours 78

Introductory to HVAC (6 hours); Trade Mathematics (9 hours); Basic Electricity (9 hours); Introductory to Heating (9 hours); Introductory to Cooling (18 hours); Introduction to Air Distribution Systems (9 hours); Basic Copper and Plastic Piping Practices (6 hours); Soldering and Brazing (6 hours); Basic Carbon Steel Piping Practices (6 hours).

HVAC LEVEL TWO:						total hours 156

Alternating Current (9 hours); Compressors (12 hours); Refrigerants and Oils (12 hours); Leak Detection, Evacuation, Recovery, and Charging (27 hours); Metering Devices (12 hours); Heat Pumps (18 hours); Basic Maintenance (18 hours); Chimneys, Vents, and Flues (6 hours); Sheet Metal Duct Systems (9 hours); Fiberglass and Flexible Duct Systems (6 hours); Commercial Airside Systems (12 hours); Air Quality Equipment (3 hours); Introduction to Hydronic Systems (12 hours).

Eligible to register for Journey II license once completed 2 years of training and OJT.

HVAC LEVEL THREE:						total hours 156

Fasteners, Hardware, and Wiring Terminations (9 hours); Control Circuit and Motor Troubleshooting (30 hours); Troubleshooting Cooling (21 Hours) Troubleshooting Heat Pumps (12 hours); Troubleshooting Gas Heating (12 hours); Troubleshooting Oil Heating (12 hours); Troubleshooting Accessories (9 hours); Zoning, Ductless, and Variable Refrigerant Flow Systems (12 hours); Commercial Hydronic Systems (9 hours); Steam Systems (12 hours); Retail Refrigeration System (15 hours); Customer Relations (3 hours).

HVAC LEVEL FOUR:						total hours 156

Water Treatment (9 hours); Indoor Air Quality (12 hours); Energy Conservation Equipment (7 hour); Building Management Systems (12 hours); System Air Balancing (15 hours); System Startup and Shutdown (15 hours); Construction Drawings and Specifications (12 hours); Heating and Cooling System Design (21 hours); Commercial/Industrial Refrigeration Systems (21 hours); Alternative and Specialized Heating and Cooling Systems (9 hours); Fundamentals of Crew Leadership (23 hours)

HVAC LEVEL FIVE:						total hours 156

Rigging; Welding & Cutting; Basic Pipe Fitting (24 hours); Advanced Trouble Shooting (30 hours); Preventive Maintenance (24 hours); Control Systems (21 hours); Freon (12 hours); Freon Recovery (9 hours); Review (36 hours).

R.I.C.T.A. does not discriminate in admissions, recruitment, services or employment on the basis

of sex, race, color, religion, national origin, ancestry, sexual orientation, age or handicap.